PETROL COKE - Specifications

Fuel Grade Raw Petrol Coke

(Low Sulphur)

| Specification Sl No | Parameter |  | Unit |  | Value |
| --- | --- | --- | --- | --- | --- |
| 1 | Moisture content (As received) |  | % Mass |  | 8 max |
| 2 | Ash ( ADB ) |  | % Mass |  | 1 max |
| 3 | Volatile Matter ( ADB ) |  | % Mass |  | 8 min |
| 4 | Fixed Carbon (Calculated) |  | % Mass |  | 87 min |
| 5 | Total Sulphur ( ADB ) |  | % Mass |  | 3.5 to 5 max |
| 6 |  | Hargrove Grindability Index (HGI) |  | 35-60 min. |  |
| 7 | Gross Calorific Value (GCV)( ADB ) |  | Kcal/Kg |  | 8200 min |